## Cover Page
N1092 - COMPLETION OF ABATTOIR, MILKING PARLOUR AND PIGGERY
IMPORTANT PRICING NOTES:
The hard copy (Downloaded) Remains the Valid Tender Document
28/11/2022
Tenderers should verify the following:
| 1. | That the Quantities in the Excel document should be the same as in the hard copy
| 2. | That the formulas in the excel document are correct.

## Pricing BoQ
DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION NO. 1
BILL NO. 1
PRELIMINARIES
PRELIMINARIES
SECTION A: CONDITIONS OF CONTRACT
CORE CLAUSES
GENERAL
Action (clause 10)
Actions (clause 10.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Identified and defined terms (clause 11)
Condition of contract (clause 11.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Defined terms (clause 11.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Interpretation and the law (clause 12)
Interpretation of the law (clause 12.1 - 12.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Communication (clause 13)
Communication (clause 13.1 - 13.8)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Project Manager and the Supervisor (clause 14)
The Project Manager and the Supervisor (clause 14.1 - 14.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Adding to the Working Areas (clause 15)
Adding to the Working Areas (clause 15.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Early Warning (clause 16)
Early Warning (clause 16.1 - 16.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Ambiguities and inconsistencies (clause 17)
Ambiguities and inconsistencies (clause 17.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Illegal and impossible requirements (clause 18)
Illegal and impossible requirements (clause 18.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Prevention (clause 19)
Prevention (clause 19.1))
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
THE CONTRACTOR'S MAIN RESPONSIBILITIES
Providing the Works (clause 20)
Providing the Works (clause 20.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Contractor's design (clause 21)
The contractor's design (clause 21.1 - 21.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Using the Contractor's design (clause 22)
Using the Contractor's design (clause 22.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Design of Equipment (clause 23)
Design of Equipment (clause 23.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
People (clause 24)
People (clause 24.1 - 24.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Working with the Employer and Others (clause 25)
Working with the Employer and Others (clause 25.1 - 25.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Sub-contracting (clause 26)
Sub-contracting (clause 26.1 - 26.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Other responsibilities (clause 27)
Other responsibilities (clause 27.1 - 27.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TIME
Starting, Completion and Key dates (clause 30)
Starting date (clause 30.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Completion date (clause 30.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Key date (clause 30.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Programme (clause 31)
The Programme (clause 31.1 - 31.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Revising the programme (clause 32)
Revising the programme (clause 32.1 - 32.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Access to and use of the Site (clause 33)
Access to and use of the Site (clause 33.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Instruction to stop or not to start work (clause 34)
Instruction to stop or not to start work (clause 34.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Take over (clause 35)
Take over (clause 35.1 - 35.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Acceleration (clause 36)
Acceleration (clause 36.1 - 36.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TESTING AND DEFECTS
Testing and inspections (clause 40)
Testing and inspections (clause 40.1 - 40.6)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Testing and inspections before delivery (Clause 41)
Testing and inspection before delivery (clause 41.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Searching for and notifying Defects (Clause 42)
Searching for and notifying Defects (Clause 42.1 - 42.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Correcting Defects (Clause 43)
Correcting Defects (Clause 43.1 - 43.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Accepting Defects (clause 44)
Accepting Defects (clause 44.1 - 44.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Uncorrected Defects (clause 45)
Uncorrected Defects (clause 45.1 - 45.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
PAYMENT
Assessing the amount due (clause 50)
Assessing the amount due (clause 50.1 - 50.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Payment (clause 51)
Payment (clause 51.1 - 51.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Defined Cost (clause 52)
Defined Cost (clause 52.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Bills of Quantities (clause 55)
The bills of quantities (clause 55.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
COMPENSATION EVENTS
Compensation events (clause 60)
Compensation events (clause 60.1 - 60.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Notifying compensation events (clause 61)
Notifying compensation events (clause 61.1 - 61.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Quotation for compensation events (clause 62)
Quotation for compensation events (clause 62.1 - 62.6)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Assessing compensation events (clause 63)
Assessing compensation events (clause 63.1 - 63.13)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Project Manager's assessment (clause 64)
The Project Manager's assessment (clause 64.1 - 64.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Implementing compensation events (clause 65)
Implementing compensation events (clause 65.1 - 65.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TITLE
The Employer's title to Plant and Materials (clause 70)
Plant and Materials outside the working area (clause 70.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Plant and Materials within the working area (clause 70.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Marking Equipment, Plant and Materials outside Working Areas (clause 71)
Marking Equipment, Plant and Materials outside Working Areas (clause 71.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Removing Equipment (clause 72)
Removing Equipment (clause 72.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Objects and materials within the site (clause 73)
Objects and materials within the site (clause 73.1 - 73.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
RISK AND INSURANCE
Employer's risk (clause 80)
Employer's risk (clause 80.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Contractor's risk (clause 81)
Contractor's risk (clause 81.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Repairs (clause 82)
Repairs (clause 82.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Indemnity (clause 83)
Indemnity (clause 83.1- 83.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance cover (clause 84)
Insurance cover (clause 84.1 - 84.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance policies (clause 85)
Insurance policies (clause 85.1 - 85.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
If the Contractor does not insure (clause 86)
If the Contractor does not insure (clause 86.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Insurance by the Employer (clause 87)
Insurance by the Employer (clause 87.1 -87.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
TERMINATION
Termination (clause 90)
Termination (clause 90.1 - 90.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Reasons for termination (clause 91)
Reasons for termination (clause 91.1 - 91.7)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Procedures on termination (clause 92)
Procedures on termination (clause 92.1 - 92.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Payment on termination (clause 93)
Procedures on termination (clause 93.1 - 93.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
MAIN OPTION CLAUSES
DISPUTE RESOLUTION
Option W1
Dispute Resolution (clause W1.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Adjudicator (clause W1.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
The Adjudication (clause W1.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Review by the Tribunal (clause W1.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
SECONDARY OPTION CLAUSES
Price adjustment for inflation (Option X1)
Defined terms (clause X1.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Price Adjustment Factor (clause X1.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Compensation Event (clause X1.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Price Adjustment (clause X1.4)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Changes in the law (Option X2)
Changes in the law (clause X2.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Delay damages (Option X7)
Delay damages (clause X7.1 - X7.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Perfomance bond (Option X13)
Performance bond (Option X13.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Advanced payment to the contractor (Option X14)
Advanced payment to the contractor (Option X14.1 - X14.3)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Limitation of the Contractor's liability for his design to reasonable skill and care (Option X15)
Limitation of the Contractor's liability for his design to reasonable skill and care (Option X15.1 - X15.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Retention (Option X16)
Retention (Option X16.1 - X16.2)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Low performance damages (Option X17)
Low performance damages (Option X17.1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Limitation of Liability (Option X18)
Limitation of Liability (Option X18.1 - X18.5)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
CONTRACT DATA
Contractual Requirements as stated elsewhere in the document
ESTABLISHMENT OF FACILITIES ON THE SITE
Facilities for Project Manager
Furnished offices (In no 1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Name boards (In no 1)
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Offices and storage sheds
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Facilities for the contractor
Living accommodation
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Ablution and latrine facilities
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Tools and Equiments
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Water supplies, electric power, communication, dealing with water and access
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Other fixed charge obligations
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Removal of site establishment
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Occupational Health and safety
Allow for compliance to Occupational Health and safety specifications including, OHS testing of personnel before commencement and after completion of project, safety equipment and safety officer.
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
Allow for compliance with all COVID 19 Regulations and Requirements
Fixed Related | Item | 1 |  | 0
Value Related | Item | 1 |  | 0
Time Related | Item | 1 |  | 0
0
SECTION NO.2
BILL NO. 1
ALTERATIONS
PREAMBLES
For Preambles refer to "Department of Public Works: Specification of material and methods to be used - PW371"
REMOVAL OF EXISTING WORKS
Note:
NATURE OF WORK Tenderers are advised to visit the site and to satisfy themselves as to the nature and extent of the work to be done and provide in their tenders for any items not specifically mentioned which they may deem necessary for the proper completion of the work. Tenderers are advised that the adjacent existing buildings will be in occupation during the progress of the work and due allowance must be made for the work being carried out at such times and in such manner as will least interfere with the routine of the occupants and as may be directed by the Project Manager
DIMENSIONS The Contractor is advised to take all dimensions affecting the existing buildings on the site, as he will be held solely responsible for all new work being of the correct sizes.
CLEANING OF SITE: The Contractor should allow for removing of rubble from site on daily basis, failing which the client might stop the construction until the site has been cleaned. None of the old stock bricks from the pulling down are to be re-used for any new work.
PIPES, ETC. Special care is to be taken not to interfere unnecessarily with any water supply pipes or other piping that may be met with and found necessary to disconnect or cut, are to be effectively stopped off and any new connections that may be necessary are to be made with proper fittings and to the satisfaction of the Project Manager to whom due notice must be given of any alterations to the existing services.
PROTECTION In taking down and removing existing work the utmost care is to be observed to avoid any structural or other damage to the remaining portions of the buildings. The Contractor must also protect all work not removed such as walls, floors, doors, windows or other joinery, loose and fixed fittings and electrical appliances, etc., from damage during the progress of the work and provide all necessary materials for so doing. The Contractor will be held solely responsible for any damage to persons or property and for the safety of the structure throughout the whole of this Contract and must make good at his own expense any damage that may occur.
CREDITS, ETC. Old materials from the pulling down (except such as are described to be re-used or handed over) are to become the property of the Contractor who shall allow credit as provided for in the summary at the end of these Bills of Quantities. Old materials for re-use are to be carefully removed, stored and protected from injury including making good any damaged or defective parts as required before re fixing. Old materials described to be handed over are to be carefully removed and neatly stacked on site where directed. The remainder of the old materials and all rubbish to be immediately carted away and the site left clean and unencumbered. None of the old stock bricks form the pulling down are to be re-used for any new work.
MATERIALS, ETC. The materials to be used and work to be done to be similar in all respects to that described for new work insofar as they concur. All work in making good is to be properly jointed to the existing.
Unless otherwise stated, all materials from the alterations and demolitions will belong to the builder. The builder should allow for the removal of all debris from site
Breaking up and removing mass concrete
100mm Thick concrete surface bed | m2 | 15 |  | 0
Hacking up/off and removing granolithic, screeds, plaster, etc from concrete or brickwork and preparing surfaces for new screeds, plaster, etc
Internal plaster from walls | m2 | 13 |  | 0
30mm Thick screed in patches | m2 | 12 |  | 0
Breaking down and removing brickwork etc
Half brick walls | m2 | 29 |  | 0
One brick walls | m2 | 18 |  | 0
Taking out and removing doors, windows, etc
Steel window size 600 x 900mm high | No | 2 |  | 0
Steel window size 1200 x 1540mm high | No | 2 |  | 0
Steel door frame size 813 x 2032mm high | No | 3 |  | 0
Steel sliding door complete with bottom and top rails overall size 1000 x 2100mm high | No | 5 |  | 0
BUILDING UP OPENINGS
Brickwork of NFP bricks in class II mortar
One brick walls | m2 | 4 |  | 0
Sundries
Cutting toothings and bonding new brickwork to existing | m2 | 2 |  | 0
OPENINGS THROUGH EXISTING WALLS ETC
Altering openings
Altering opening in one brick wall where 600 x 900mm high window was removed to form opening for new window 600 x 900mm high by breaking out brickwork on both sides and bottom including necessary precast concrete lintel and making good plaster on one side and into reveals and face brickwork on other side and into reveals (new window and making good paintwork elsewhere) | No | 2 |  | 0
Altering opening in one brick wall where 813 x 2032mm high steel door frame was removed to form opening for new steel door frame size 900 x 2032mm high by breaking out brickwork on both sides and bottom including necessary precast concrete lintel and making good plaster on one side and into reveals and face brickwork on other side and into reveals (new window and making good paintwork elsewhere) | No | 3 |  | 0
Breaking out for and forming openings through brick walls for new doors and frames including necessary precast concrete lintels and making good plaster on both sides and into reveals and with concrete thresholds with steel trowelled finish (new doors and frames and making good paintwork elsewhere)
Create opening size 813 x 2032mm high overall through one brick wall | No | 2 |  | 0
0
EXCAVATIONS
Excavation in earth not exceeding 2m deep
Trenches | m3 | 202 |  | 0
Holes | m3 | 21 |  | 0
Excavate in pickable earth to reduce ground level below surface beds and cart away excavated material to a dumping place to be found by the contractor (cut to spoil) | m3 | 36 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 93% mod. AASHTO density | m2 | 401 |  | 0
Extra over trench and hole excavations in earth for excavation in
Soft rock | m3 | 5 |  | 0
Hard rock | m3 | 8 |  | 0
Risk of collapse of excavations
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 594 |  | 0
Keeping excavations free of water
Keeping excavations free of water | Item | 1 |  | 0
FILLING ETC
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 93% Mod AASHTO density
Backfilling to trenches, holes, etc | m3 | 9 |  | 0
Under floors, steps, pavings, etc | m3 | 8 |  | 0
Earth filling of G7 material supplied by the contractor, compacted to 95% Mod AASHTO density
Backfilling to trenches, holes, etc | m3 | 127 |  | 0
Under floors, steps, pavings, etc | m3 | 113 |  | 0
Compaction of surfaces
Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density (Ramps) | m2 | 82 |  | 0
Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m2 | 401 |  | 0
Extra over all excavations for carting away
Surplus material from excavations on site to a dumping site to be located by the contractor | m3 | 114 |  | 0
Prescribed density tests on filling
Modified AASHTO Density test | No | 9 |  | 0
SOIL POISONING
Soil insecticide to be executed with SABS compliance by a firm of specialists under a 5 year guarantee
Under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 469 |  | 0
To bottoms and sides of trenches, etc. | m2 | 823 |  | 0
Weedkiller mixed in accordance to supplier's specifications
Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 469 |  | 0
To bottoms and sides of trenches etc | m2 | 823 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm concrete
Surface blinding under footings and bases | m3 | 11 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Ramps | m3 | 8 |  | 0
Strip footings | m3 | 64 |  | 0
Bases | m3 | 8 |  | 0
Columns in foundations | m3 | 1 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 10 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float/steel trowel
Surface beds, slabs, etc (Ramps) | m2 | 22 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Smooth formwork to sides
Rectangular columns in foundations | m2 | 9 |  | 0
REINFORCEMENT
Mild steel reinforcement to structural concrete work
8mm Diameter bars | t | 0.39 |  | 0
10mm Diameter bars | t | 2.07 |  | 0
High tensile steel reinforcement to structural concrete work
12mm Diameter bars | t | 1.96 |  | 0
25mm Diameter bars | t | 3.45 |  | 0
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 2,45 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (Ref 245), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 82 |  | 0
WATERPROOFING
Gundle USB Green co ex 250µm damp proof membrane under concrete surface beds to SANS mark 952-1985 type C laid with minimum 150mm overlaps and sealed with Gunplas pressure sensitive tape.
Under surface beds | m2 | 60 |  | 0
MASONRY
Brickwork of NFX bricks (14 MPa nominal compressive strength) in class I mortar
Piers | m3 | 3 |  | 0
Half brick walls | m2 | 7 |  | 0
One brick walls | m2 | 279 |  | 0
BRICKWORK SUNDRIES
Leave or form opening through one brickwall for pipe n.e 100mm diameter | No | 30 |  | 0
Brickwork reinforcement
75mm Wide reinforcement built in horizontally | m | 54 |  | 0
150mm Wide reinforcement built in horizontally | m | 3313 |  | 0
FACE BRICKWORK
Face brick, size 222 x 106 x 73mm, manufactured in accordance with 227:2007, bedded and jointed in Class I mortar and pointed with flush vertical and flush horizontal joints, suitable for exposure zones 1-2 (PC Amount R10 000-00/thousand Vat excl. supplied and deilvered to site).
Extra over brickwork for face brickwork in foundations | m2 | 166 |  | 0
0
SECTION NO 3
BILL NO 2
CONCRETE, FORMWORK AND REINFORCEMENT
REINFORCED CONCRETE
30MPa/19mm concrete
Surface beds on waterproofing | m3 | 40 |  | 0
Extra over concrete in surface beds for 100mm thickening under surface bed, size 315mm at top and tapering to 230mm at bottom, inclusive of all excavations, cart away, backfilling, etc | m | 20 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 21 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel float
Surface beds, slabs, etc | m2 | 401 |  | 0
20MPa non shrink grout
25mm Thick bedding under 400 x 400mm wide base plate including chamfering edges all round | No | 10 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Smooth formwork to sides
Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 6 |  | 0
MOVEMENT JOINTS ETC
Expansion joints with bitumen impregnated softboard between concrete and brickwork
10mm Joints not exceeding 300mm high along edges of surface beds | m | 338 |  | 0
Saw cut joints
5 x 10mm Reamed saw cut joints on top of concrete | m | 57 |  | 0
3 x 35mm Saw cut joints on top of concrete with corners rounded to 3mm radius | m | 115 |  | 0
REINFORCEMENT
Fabric reinforcement
Ref 245 fabric reinforcement in concrete surface beds, slabs, etc | m2 | 401 |  | 0
0
SECTION NO 3
BILL NO 3
MASONRY
SUPERSTRUCTURE
Brickwork of NFP bricks in class II mortar
Piers | m3 | 3 |  | 0
Half brick walls | m2 | 260 |  | 0
One brick walls | m2 | 875 |  | 0
BRICKWORK SUNDRIES
Allied Concrete prestressed fabricated lintels
110 x 70mm Lintels in lengths not exceeding 3m | m | 48 |  | 0
110 x 70mm Lintels in lengths exceeding 3m and not exceeding 4,5m | m | 32 |  | 0
Turning pieces
115mm Wide turning pieces to lintels etc | m | 8 |  | 0
230mm Wide turning pieces to lintels etc | m | 35 |  | 0
Brickwork reinforcement
75mm Wide reinforcement built in horizontally | m | 1177 |  | 0
150mm Wide reinforcement built in horizontally | m | 3466 |  | 0
230mm Wide reinforcement built in horizontally | m | 649 |  | 0
Galvanised hoop iron cramps, ties, etc
1,6mm Thick x 25mm wide galvanised metal hoop iron 540mm long two (2) times bent and built into brickwork | No | 90 |  | 0
1,6mm Thick x 25mm wide galvanised metal strap 220mm long once bent with one end welded to steel column and other end built into brickwork | No | 471 |  | 0
30 x 1,6mm Roof tie 1,5m long with one end fixed to timber and other end built into brickwork | No | 13 |  | 0
Vitex 50-2F mild steel Flatex general mesh with 5 x 10mm mesh made up of 1,0 x 1,0mm strands with a mass of 2,9kg/m², cut to 440mm width panels, fixed to walls | m | 40 |  | 0
Joint forming material in movement joints
10mm Thick "Jointex" not exceeding 300mm wide fixed vertically between walls | m | 23 |  | 0
Expansion joints with bitumen impregnated softboard between concrete and brickwork
10mm Joints not exceeding 300mm high between brick walls | m | 90 |  | 0
Holes:
Leave or form opening through one brickwall for pipe n.e 100mm diameter | No | 19 |  | 0
Leave or form opening through one brickwall for pipe exceeding 100 and not exceeding 200mm diameter | No | 10 |  | 0
FACE BRICKWORK
Face brick, size 222 x 106 x 73mm, manufactured in accordance with 227:2007, bedded and jointed in Class I mortar and pointed with flush vertical and flush horizontal joints, suitable for exposure zones 1-2 (PC Amount R10 000-00/thousand Vat excl. supplied and deilvered to site).
Half brick wall faced both sides but pointed and jointed on one side | m2 | 4 |  | 0
Half brick walls in beamfilling faced both sides but jointed and pointed on one side | m2 | 5 |  | 0
Extra over brickwork for face brickwork | m2 | 833 |  | 0
Extra over brickwork for brick-on-edge header course lintel pointed on face and 115mm soffit | m | 44 |  | 0
Fair cutting and fitting around pipe not exceeding 100mm diameter | No | 13 |  | 0
Fair cutting and fitting around pipe exceeding 100mm and not exceeding 200mm diameter | No | 10 |  | 0
Fair raking cutting | m | 25 |  | 0
Brick-on-edge header course copings, sills, etc of face brick, size 222 x 106 x 73mm, manufactured in accordance with 227:2007, bedded and jointed in Class I mortar and pointed with flush vertical and flush horizontal joints, suitable for exposure zones 1-2. (PC Amount R10 000-00/thousand Vat excl. supplied and deilvered to site).
230mm Wide sill set sloping and slightly projecting | m | 23 |  | 0
Coping on top of one brickwall | m | 20 |  | 0
Coping on raking top of one brick wall | m | 33 |  | 0
0
SECTION NO 3
BILL NO 4
WATERPROOFING
WATERPROOFING TO ROOFS, BASEMENTS, ETC
One layer of 375 micron "Tarkon Black DPC" embossed damp proof course
In walls | m2 | 54 |  | 0
One layer of 250 micron "Tarkon USB Green" waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape"
Under surface beds | m2 | 401 |  | 0
JOINT SEALANTS ETC
Silicone sealing compound including backing cord, bond breaker, primer, etc
3 x 35mm In saw cut joints in floors | m | 115 |  | 0
abe Construction chemicals
10 x 5mm Deep isolation joints, including raking out of expansion joint filler as necessary, prepare surfaces leaving them clean, dry sound and free of grease. clean non-porous surface with Dow Corning R40, dry thoroughly, apply primer if necessary and apply DOW Corning 813-C sealant | m | 284 |  | 0
Sika Construction chemicals
15 x 10mm In isolation joints including removing all loose materials with a wire brush, water or sand blasting if necessary, remove all traces of release agents etc., apply bond breaker or backing cord, apply Sika Primer 3 and Sikaflex-Pro 2HP within one (1) to five (5) hours of applying Sika Primer 3 all in strict accordance of manufacturer's instructions. | m | 15 |  | 0
0
SECTION NO 3
BILL NO 5
ROOF COVERINGS, ETC.
Roof coverings with pitches not exceeding 25 degrees | m2 | 325 |  | 0
Head wall flashing 462mm girth, two times bent along girth. | m | 4 |  | 0
Counter flashing 185mm girth, two times bent along girth. | m | 4 |  | 0
Ridge capping 462mm girth, three times bent along girth. | m | 24 |  | 0
Saflok metal broad flute closure | m | 4 |  | 0
Saflok Poly closures | m | 4 |  | 0
Saflok 700 0,5mm Thick Colorplus AZ100, Colour to be confirmed, C.1.S finish with standard backing coat Cool Grey G550 interlocking roof sheeting with AZ100 spelter to both sides fixed to steel purlins not exceeding 1900mm centres and to ridge and eaves at not exceeding 1700mm centres. Saflok 700 ZincAL 0,8mm clips fastened with Fixtite Class 4 self tapping wafer head 10 x 22mm for timber fix all in accordance with manufacturer's recommendations.
Roof coverings with pitches not exceeding 25 degrees | m2 | 157 |  | 0
ROOF AND WALL INSULATION
Isoboard Thermal Insulation
Roof insulation to be Isoboard® high density 32-36kg/m³ rigid extruded polystyrene 100% closed cell insulation boards 60mm thick x 600mm wide with brown paper and polyethylene laminate slip sheet factory applied to upper surface, with tongue & groove joints fixed concurrent with roof covering over steel purlins at maximum 1500mm centres with 5mm gap between boards butt-joined over purlins. Ridge vents are recommended to be allowed for in the roof covering (elsewhere specified) in order to prevent deflection due to heat build up above the boards. • Thickness: 60mm • Application: Roof insulation | m2 | 325 |  | 0
Roof insulation to be Isoboard® high density 32-36kg/m³ rigid extruded polystyrene 100% closed cell insulation boards 60mm thick x 600mm wide with brown paper and polyethylene laminate slip sheet factory applied to upper surface, with tongue & groove joints fixed concurrent with roof covering over timber purlins at maximum 1500mm centres with 5mm gap between boards butt-joined over purlins. Ridge vents are recommended to be allowed for in the roof covering (elsewhere specified) in order to prevent deflection due to heat build up above the boards. • Thickness: 60mm • Application: Roof insulation | m2 | 157 |  | 0
|  | 0.0 |  | 0
SECTION NO 3
BILL NO 6
CARPENTRY AND JOINERY
EAVES, VERGES, ETC
Everite pressed fibre-cement
Everite medium density plain ungrooved Nutec fascia boards (Code: 041-237), size 300 x 10mm, fixed to timber rafters twice screwed with 12 x 40mm countersunk brass screws with Chromaprep H-profile fascia joiner between boards | m | 64 |  | 0
Everite moulded Nutec moulded barge boards (Code: 721-740), size 275 x 80mm, fixed to 38 x 38mm trimmer batten twice screwed with 12 x 40mm countersunk brass screws with Chromaprep H-profile barge board joiners between boards and at roof apex. | m | 47 |  | 0
DOORS, ETC
44mm Wrought meranti framed, ledged, braced and battened door of 44 x 150mm top rails and stiles, 22 x 150mm middle legde and braces and 22 x 220mm bottom rail filled in with 22mm V-jointed one side boarding
Door size 813 x 2032mm high | No | 4 |  | 0
Door size 900 x 2032mm high | No | 5 |  | 0
40mm Solid core flush panel door with masonite veneer on both sides and with solid hardwood concealed edges all round
Door size 813 x 2032mm high | No | 6 |  | 0
Door size 900 x 2032mm high | No | 5 |  | 0
Door size 1413 x 2032mm high with two unequal leaves with rebated meeting stiles | No | 1 |  | 0
0
SECTION NO. 3
BILL NO. 7
CEILINGS, ETC.
SUSPENDED CEILINGS
Lafarge Gypsum lay-in grid ceiling system with 600 x 600 x 12mm thick square edged Lafarge Fissured vinyl ceiling tiles, laid on 15 x 38mm high double stitched slotted main tees at 1200mm centres and 15 x 38mm high cross tees at 600mm centres with galvanised exposed face with 600mm cross tees spaced between 1200mm cross tees at 600mm centres all in colour White, including necessary grids, locking type end clips, fire expansion punchouts to main tees, etc. suspended by 25 x 25 x 1,6mm thick galvanised angle cleats at not exceeding 1200mm centres.
Ceilings suspended not exceeding 1m below timber purlins at 960mm centres (trusses at 1m centres) | m2 | 79 |  | 0
OWAcoustic® Sandila/N Premium Biologically absorbable mineral wool ceiling tiles, size 1200 x 600 x 15mm thick with square edge and white painted finish, laid on fire rated OWAconstruct® S3 exposed demountable Butt-cut T24 suspension system, comprising galvanised main tees and cross tees at with main tees suspended by means of galvanised hangers at centres not exceeding 1200mm with ceiling perimeter finished with OWAconstruct Perimeter L-trim, plugged and screwed at 200mm centres, and all installed to manufacturer's instructions.
Ceilings suspended not exceeding 1m below timber purlins at 900mm centres (trusses not exceeding at 1m centres) | m2 | 57 |  | 0
Owa cornices to suspended ceilings
OWAconstruct Perimeter L-trim, plugged and screwed at 200mm centres, and all installed to manufacturer's instructions. | m | 72 |  | 0
0
SECTION NO 3
BILL NO 8
IRONMONGERY
LOCKS
Solid hardened steel padlock (PC Amount R200-00 each Vat excl. supplied) | No | 9 |  | 0
TYPE 01
DORMA Solid Stainless Steel 150mm long spring loaded lever handle in Stainless Steel finish (Code: SH875 cylinder). | Pairs | 11 |  | 0
DORMA Satin Nickel 66mm master keyed double cylinder (Code: DDC106601). | No | 11 |  | 0
DORMA Stainless Steel cylinder sash lock (Code: D036S) with 57mm backset. | No | 11 |  | 0
DORMA Nickel Plated floor mounted door stop (Code: DDS-NP-018), size 24 x 45mm fixed in accordance with the manufacturer's recommendations. | No | 17 |  | 0
WC CUBICLES
Dorma DDWC-006 stainless steel WC indicator with 79mm turn knob for physically impaired. (St/Steel) | Pairs | 6 |  | 0
Dorma DPH301C 150 x 19mm stainless steel "D" shaped straight bolt through pull handle (St/Steel) | Pairs | 6 |  | 0
Dorma DHC-SS-031B stainless steel hat and coat hook with rubber buffer. (St/Steel) | No | 6 |  | 0
LETTERS, NAMEPLATES, ETC
Dorma
Dormakaba "Male " engraved grade 304 Stainless Steel sign (Code: DSS-130), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
Dormakaba "Female" engraved grade 304 Stainless Steel sign (Code: DSS-131), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
Dormakaba "Cleaner " engraved grade 304 Stainless Steel sign (Code: DSS-138), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
Dormakaba "Disabled" engraved grade 304 Stainless Steel sign (Code: DSS-133), size 150 x 150 x 1,2mm with counter-sunk fixing holes plugged and screwed with aluminium screws. | No | 1 |  | 0
BATHROOM FITTINGS
Volkem Cleaning and Hygiene Solutions
Volkem satin finished stainless steel pedestal operated sanitary towel disposal bin (Code: SB008), with capacity of 20 litres, plugged and screwed to the wall with stainless steel screws. | No | 10 |  | 0
Franke
Franke HF2400HD 1,2/1,5mm thick satin finished stainless steel automatic hands free hand dryer (Code: 359961), size 280 x 207 x 245mm high with 2 vandal proof lock screws and key wrench, plugged and screwed to the wall with stainless steel screws, 200 W motor connected to 230/240 volt power supply. With 5 year warranty. | No | 5 |  | 0
Franke BHM6P polished stainless steel double arm double arm soap rack (Code: 359944), size 163 x 100mm deep, plugged and screwed to the wall with stainless steel screws. | No | 6 |  | 0
Serra
Serra®Rol TR Lockable toilet tissue Toilet Roll Holder stainless steel (code: SD1310), overall size 125 x 135 x 255mm high, installed by a Serra®Rol installation team. | No | 10 |  | 0
Kimberly Clark
Kimberly-Clark® Professional Reflex® Disposer wall mounted waste bin colour Black (code: SA426096), overall size 334 x 258 x 635mm high, installed by a Kimberly Clark® installation team. | No | 3 |  | 0
Kimberly-Clark® Professional Series I Twinpak Skincare soap dispenser colour Black (code: SA921940), overall size 184 x 110 x 264mm high, installed by a Kimberly Clark® installation team. | No | 5 |  | 0
Franke
Franke CNTX750 Grade 304 18/10 stainless steel 32mm diameter straight grab rail with Franke fine grip (Code: 2510006) 750mm x 95mm deep, plugged and screwed to the wall with stainless steel screws. | No | 1 |  | 0
Franke CNTX21 Grade 304 18/10 stainless steel 32mm diameter angle bar with Franke fine grip (Code: 2510008), size 415 x 415 x 95mm deep, plugged and screwed to the wall with stainless steel screws. | No | 1 |  | 0
0
SECTION NO 3
BILL NO. 9
STRUCTURAL STEELWORK
STEEL COLUMNS AND BEAMS
Welded roof trusses of angle section rails, struts, braces, cleats, etc and flat section bearer, gusset and connection plates bolted to steel
Double pitched trusses size approximately 12305 x 3000mm high (No.1) | t | 1.71 |  | 0
Double pitche trusses size approximately 12306 x 2796mm high (No.1) | t | 1.5 |  | 0
Double pitched trusses size approximately 12306 x 1556mm high (No.1) | t | 1.4 |  | 0
Double pitched trusses size approximately 12306 x 1556mm high (No.1) | t | 1.08 |  | 0
Lattice trusses size approximately 12306mm x 2796mm high extreme (No.1) | t | 1.45 |  | 0
Welded columns in single lengths with flat section base, top, bearer and connection plates bolted to concrete
254 x 254 x 73kg/m I-section columns | t | 2.14 |  | 0
254 x 254 x 89kg/m I-section columns | t | 1.3 |  | 0
Welded beams in single lengths with flat section bearer and connection plates bolted to steel columns
254 x 146 x 31kg/m I section beams | t | 1.53 |  | 0
305 x 102 x 28kg/m I section beams | t | 0.98 |  | 0
Bolts to columns, beams, etc
M16 Anchor bolt 535mm long shank bent once, with grade 8.8 nut and washers formed of grade 43, E70XX, bolt to be greased before embedding in concrete | No | 40 |  | 0
High tensile bolts | t | 0.08 |  | 0
Bolts to trusses etc
High tensile bolts | t | 0.1 |  | 0
PURLINS, GIRTS, BRACING, ETC
Purlins and girts bolted to steel
Cold formed lipped channel section | t | 1.98 |  | 0
Welded bracing etc with flat section connection plates bolted to steel
Angle section bracing | t | 0.85 |  | 0
Angle section sag rails | t | 0.29 |  | 0
0
SECTION NO 3
BILL NO 10
METALWORK
WELDED SCREENS, GATES, ETC
Screens and gates
Steel gate 1000 x 2100mm high (PC Amount R2 000-00 Vat excl. supplied and installed by Specialists) | No | 1 |  | 0
Steel gate 1200 x 2100mm high (PC Amount R2 000-00 Vat excl. supplied and installed by Specialists) | No | 2 |  | 0
STEEL WINDOWS, DOORS, ETC
Standard residential windows with type B2 burglar bars to all sashes
Window type NE1 size 533 x 654mm high | No | 15 |  | 0
Window type NC2 size 1022 x 949mm high | No | 6 |  | 0
Window type NE10 size 1511 x 654mm high | No | 5 |  | 0
Purpose made steel windows with type B2 burglar bars to opening sashes
Window size 600 x 900mm high set in opening created elsewhere (PC Amount R1 200-00 Vat excl supplied) | No | 2 |  | 0
Window size 1000 x 925mm high (PC Amount R1 500-00 Vat excl supplied) | No | 1 |  | 0
Window size 2000 x 925mm high (PC Amount R3 000-00 Vat excl supplied) | No | 2 |  | 0
Window size 1511 x 1264mm high (PC Amount R3 500-00 Vat excl supplied) | No | 1 |  | 0
Window size 4000 x 925mm high (PC Amount R6 000-00 Vat excl supplied) | No | 1 |  | 0
PRESSED STEEL DOOR FRAMES
1,2mm Double rebated frames suitable for half brick walls
Frame for door size 813 x 2032mm high | No | 6 |  | 0
Frame for door size 900 x 2032mm high | No | 2 |  | 0
1,2mm Double rebated frames suitable for one brick walls
Frame for door 813 x 2032mm high | No | 3 |  | 0
Frame for door 900 x 2032mm high | No | 6 |  | 0
Frame for door 900 x 2032mm high set on opening created elsewhere | No | 5 |  | 0
Frame for door 1413 x 2032mm high | No | 1 |  | 0
PRESSED STEEL TRANSFORMER ROOM DOORS AND FRAMES
Tranformer doors
Double door 1800 x 2100mm high with 650 x 850mm high louvred ventilation panel and rebated frame suitable for one brick wall (PC Amount R4 000-00 Vat exl. supplied) | No | 1 |  | 0
Double door 1626 x 2100mm high with 600 x 850mm high louvred ventilation panel and rebated frame suitable for one brick wall (PC Amount R4 000-00 Vat exl. supplied) | No | 1 |  | 0
DOORS
Steel sliding doors including frames, sliding gear, ironmongery etc.
Sliding door size 900 x 2100mm high (PC Amount R3 000-00 each VAT excl. supplied) | No | 4 |  | 0
Sliding door size 1000 x 2100mm high (PC Amount R3 500-00 each VAT excl. supplied) | No | 2 |  | 0
Sliding door size 1000 x 2100mm high (PC Amount R4 000-00 each VAT excl. supplied and delivered to site) | No | 9 |  | 0
STEEL ROLLER SHUTTERS ETC
Wispeco powder coated roller shutters fixed to brickwork or concrete
Crank operated slatted roller shutter for 800 x 2100mm high opening (PC Amount R4 500-00 (Vat excl. supplied, delivered and installed by Specialists) | No | 1 |  | 0
Crank operated slatted roller shutter for 1700 x 1300mm high opening (PC Amount R5 500-00 (Vat excl. supplied, delivered and installed by Specialists) | No | 1 |  | 0
Crank operated slatted roller shutter for 1800 x 2100mm high opening (PC Amount R11 000-00 (Vat excl. supplied, delivered and installed by Specialists) | No | 4 |  | 0
Crank operated slatted roller shutter for 2550 x 2125mm high opening (PC Amount R15 000-00 (Vat excl. supplied, delivered and installed by Specialists) | No | 1 |  | 0
Crank operated slatted roller shutter for 3100 x 2100mm high opening (PC Amount R17 500-00 (Vat excl. supplied, delivered and installed by Specialists) | No | 1 |  | 0
0
SECTION NO 3
BILL NO 11
PLASTERING
SCREEDS
Screeds on concrete
15mm Thick on floors and landings | m2 | 157 |  | 0
22mm Thick on floors and landings | m2 | 2 |  | 0
Average 50mm thick on floors to falls | m2 | 254 |  | 0
GRANOLITHIC
Granolithic screeds
30mm Thick on floors and landings | m2 | 536 |  | 0
75mm coved skirting | m | 24 |  | 0
INTERNAL PLASTER
Cement plaster on brickwork
On walls | m2 | 1391 |  | 0
On narrow widths | m2 | 12 |  | 0
EXTERNAL PLASTER
Cement wash of 1:3 liquid cement and sand mixture applied with a brush
On brick walls, piers, etc. | m2 | 61 |  | 0
Cement plaster on brickwork
On walls | m2 | 22 |  | 0
On narrow widths | m2 | 2 |  | 0
0
SECTION NO 3
BILL NO 12
TILING
WALL TILING
300 x 600 x 12,5mm Thick glazed Porcelain tiles (PC Amount R300-00 Vat excl. supplied and delivered to site) fixed to internal wall plaster backing with TAL tile adhesive (elsewhere specified) mixed with TAL bonding liquid in lieu of water with joints continuous in both directions and grouted with TAL tile grout (elsewhere specified), excess grout on the surface to be cleaned with water as work proceeds.
On walls | m2 | 422 |  | 0
On narrow widths | m2 | 3 |  | 0
Fair exposed cutting and fitting around pipe not exceeding 50mm internal diameter | No | 13 |  | 0
Fair exposed cutting and fitting around pipe exceeding 100mm and not exceeding 100mm internal diameter | No | 10 |  | 0
FLOOR TILING
500 x 500 x 12,5mm Thick Porcelain matt finish tile (PC Amount R225,00/m2 VAT excl. supplied and delivered to site) with fixed to internal floor screed with TAL tile adhesive (elsewhere specified) mixed with TAL bonding liquid in lieu of water with joints continuous in both directions and grouted with tile grout (elsewhere specified), excess grout on the surface to be cleaned with water as work proceeds.
On floors and landings | m2 | 149 |  | 0
Skirting of 600 x 100mm high cut tile | m | 195 |  | 0
Mesh backed ceramic mosaics , size 48 x 48mm, sheet size 300 x 300mm (PC Amount R600,00/m2 VAT excl. supplied and delivered to site) fixed mesh side down to internal floor with White TAL Mosaic Fix tile adhesive mixed with bonding liquid in lieu of water (elsewhere specified), laid with diagonal joints continuous in both directions with tile grout (elsewhere specified) applied with flexible spatula, excess grout to be removed with damp sponge and tiles to be washed off with Glint Tile Cleaner once grout has cured.
On floors and landings | m2 | 8 |  | 0
Sundries
Aluminium edge strip on top of cut skirting (PC Amount R85-00/m Vat excl. supplied and delivered to site) | m | 196 |  | 0
0
SECTION NO 3
BILL NO 13
GLAZING
GLAZING TO STEEL WITH PUTTY
4mm Clear float glass
Panes exceeding 0,5m2 and not exceeding 2m2 | m2 | 15 |  | 0
4mm Obscure glass
Panes exceeding 0,1m2 and not exceeding 0,5m2 | m2 | 10 |  | 0
MIRRORS, ETC
6mm Thick mirrors with bevelled edges, holed for and fixed with chromium plated dome capped mirror screws with rubber buffers to plugs in brickwork or concrete
Mirror 450 x 450mm high with four (4) screws | No | 5 |  | 0
Mirror 450 x 900mm high with four (4) screws | No | 1 |  | 0
0
SECTION NO 3
BILL NO 14
PAINTWORK
ON FLOATED PLASTER
Plascon Polvin Super Acrylic to interior new cement plaster (NW 205).Surface to be dry, sound and clean and cured for a minimum of 14 days, with a moisture content measured with a Doser Hygrometer (or equivalent), of BD 2 scale - 8% or less. Prime with one coat of Plascon Plaster Primer (UC 56) with an overcoating time of 16 hours and finish with two coats of Polvin Super Acrylic (EPL) with 1 hour drying time between coats, for a maintenance cycle of 5 years in a C1 - inland environment.
On internal walls | m2 | 978 |  | 0
Plascon Professional Superior Matt to exterior cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with one coat Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional Superior Matt (PEM 950) with 2 hours drying time between coats, for a maintenance cycle of 7 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional Superior Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 2,00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16,00 hour• Specification document : RD107t.
On external walls | m2 | 22 |  | 0
ON BAGGED BRICKWORK OR CONCRETE
Plascon Professional Superior Matt to exterior cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with one coat Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional Superior Matt (PEM 950) with 2 hours drying time between coats, for a maintenance cycle of 7 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional Superior Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 2,00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16,00 hour• Specification document : RD107t.
On external walls | m2 | 61 |  | 0
ON METAL
Plascon Super Universal Enamel to exterior new mild steel.Surface to be clean and dry. Remove surface contaminants using Metalcare Aquasolv Degreaser (GR 1) with bristle brush or Brillo pads. Rinse thoroughly with tap water until surface is water break-free. Remove rust and millscale by abrasive blasting to ISO 8501 - 01:1988 - Sa2½ or by hand/mechanical wire brushing to St3 of the same standard. Allow to dry completely and prime within 4 hours of cleaning. Prime with one coat Metalcare Mild Steel Primer (UC 501) with an overcoating time of 16 hours and finish with two coats Super Universal Enamel (NY 1/G) with 16 hours drying time between coats, for a maintenance cycle of 3 years in a C1 - inland environment.
On door frames | m2 | 52 |  | 0
On doors and frames | m2 | 37 |  | 0
On windows with burglar bars | m2 | 52 |  | 0
On columns and beams | m2 | 446 |  | 0
On members of roof trusses | m2 | 572 |  | 0
On gates, grilles, burglar screens, balustrading, etc (both sides measured over the full flat area ) | m2 | 14 |  | 0
ON WOOD
Plascon Woodcare Clear Varnish to interior new wood (NW 601).Surface to be dry, sound and clean. Wash knots and resinous areas with Lacquer Thinners (ILS 1) and coat with Woodcare Knot Seal (PK 2) and apply one coat of Plascon Woodcare Pretreatment (WWP 1), overcoated within 48 hours with a moisture content, measured with a Doser Hygrometer (or equivalent), of BD 2 scale (A1-A5) < 14% or less. Prime with one coat of Woodcare Clear Varnish (CVI 5) with an overcoating time of 16 hours and finish with two coats of Woodcare Clear Varnish (CVI 5) with 16 hours drying time between coats, for a maintenance cycle of 3 years in a C1 - inland environment.
On doors | m2 | 20 |  | 0
Plascon Professional Eggshell Enamel to interior new wood.Surface to be dry, sound and clean. Wash knots and resinous areas with Lacquer Thinners (ILS 1) and coat with Woodcare Knot Seal (PK 2) and apply one coat of Plascon Woodcare Pretreatment (WWP 1), overcoated within 48 hours with a moisture content, measured with a Doser Hygrometer (or equivalent), of BD 2 scale (A1-A5) < 14% or less. Prime with one coat Professional Wood Primer (PP 800) with an overcoating time of 16 hours and finish with two coats Professional Eggshell Enamel (PSB 700) with 16 hours drying time between coats, for a maintenance cycle of 5 years in a C1 - inland environment.
On doors | m2 | 77 |  | 0
ON FIBRE-CEMENT
Plascon Professional Gloss Enamel to exterior new fibre cement (NW 172).Surface to be dry, sound and clean, with a moisture content, measured with a Doser Hygrometer (or equivalent), of BD 2 scale - 8% or less. Prime with one coat of Professional Plaster Primer (PP 700) with an overcoating time of 16 hours and finish with two coats of Professional Gloss Enamel (PSB 800) with 16 hours drying time between coats, for a maintenance cycle of 2 years in a C1 - inland environment.
On fascias and barge boards | m2 | 60 |  | 0
PAINTWORK ETC TO PREVIOUSLY PAINTED WORK
ON FLOATED PLASTER
Plascon Professional All Purpose Matt to previously painted interior cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with one coat Professional Plaster Primer (PP700) with an overcoating time of 16 hours and finish with two coats Professional All Purpose Matt (PEM 800) with 1 hour drying time between coats, for a maintenance cycle of 3 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Professional All Purpose Matt• Number of coats of topcoat : two coats• Overcoating time for topcoat : 1.00 hour• Primer/Base coat : Professional Plaster Primer • Overcoating time for primer/base coat : 16.00 hour• Specification document : RD118t.
On internal walls | m2 | 481 |  | 0
Plascon Super Acrylic Polvin to previously painted exterior cement plaster.Surface to be assessed and the appropriate surface preparation clauses selected for remedial procedure. Prime with one coat Plascon Plaster Primer (UC56) with an overcoating time of 16 hours and finish with two coats Super Acrylic Polvin (EPL 30) with 1 hour drying time between coats, for a maintenance cycle of 7 years in a C1 - inland environment.• Environment : C1 - inland• Topcoat : Super Acrylic Polvin• Number of coats of topcoat : two coats• Overcoating time for topcoat : 1.00 hour• Primer/Base coat : Plascon Plaster Primer • Overcoating time for primer/base coat : 16.00 hour• Specification document : RD116r.
On external walls | m2 | 456 |  | 0
0
FOUNDATIONS | Page | 43 |  | 0
CONCRETE, FORMWORK & REINFORCEMENT | Page | 48 |  | 0
MASONRY | Page | 53 |  | 0
WATERPROOFING | Page | 56 |  | 0
ROOF COVERINGS, ETC. | Page | 61 |  | 0
CARPENTRY & JOINERY | Page | 64 |  | 0
CEILINGS, ETC. | Page | 67 |  | 0
IRONMONGERY | Page | 72 |  | 0
STRUCTURAL WORK | Page | 76 |  | 0
METALWORK | Page | 82 |  | 0
PLASTERING | Page | 85 |  | 0
TILING | Page | 88 |  | 0
GLAZING | Page | 89 |  | 0
PAINTING | Page | 95 |  | 0
0
SECTION NO 4
BILL NO. 1
SANITARY FITTINGS ETC
Vaal
Vaal Sanitaryware Hibiscus Elite vitreous china close coupled suite colour White (Code: 772402WH), overall size 643 x 355 x 830mm high with Hibiscus Jazz thermoset seat (Code: 8531Z000), comprising 90º outlet open rim pan (Code: 772300WH) with matching 6 litre front single flush cistern (Code: 710740) including lid and fitments. | No | 9 |  | 0
Vaal Sanitaryware Pearl Paraplegic vitreous china floor mounted paraplegic washdown suite colour White (Code: 7300SC), comprising semi close couple 90º outlet open rim washdown pan and matching 9 litre cistern complete with lid, fitments and purpose made side-flush lever and purpose-made chromium plated side flush lever. | No | 1 |  | 0
Vaal Sanitaryware 600 x 385 x 380mm Lavatera top inlet white vitreous china wall mounted urinal (Code: 705426WH) including 38mm chromium plated domical grating (Code:8787Z0) and chromium plated top inlet spreader (Code: 7054Z1), flush valve (by others), fixed on and including two hanger brackets (Code: 8127Z0). | No | 4 |  | 0
Vaal Sanitaryware Hibiscus vitreous china wall hung basin colour White (Code: 702303WH) with Universal half pedestal (Code: 715222WH), overall size 510 x 405mm with two tapholes including integrated overflow and chainstay hole(basin waste text)(basin waste code prefix)(basin waste code)(basin waste code suffix), bolted to wall with 2No.10mm bolts (Code: 8448Z000) and sealed with silicone sealant where basin meets wall. | No | 9 |  | 0
Franke
Franke Grade 304 18/10 stainless steel Luxtub LDL washtrough, size 600 x 500mm x 257mm deep with one pressed bowl with 43 litre bowl, PVC waste and plug with handle, fitted on pair of Franke Falcon pressed galvanised mild steel brackets (product code: 300322) fixed to the wall with 6mm stainless steel anchor bolts. | No | 5 |  | 0
Subtotal |  |  |  | 0
SECTION NO 4
BILL NO. 2
SANITARY PLUMBING
uPVC, soil and vent pipes
50mm Pipes | m | 29 |  | 0
110mm Pipes | m | 16 |  | 0
50mm Pipes laid in and including trenches not exceeding 1m deep below surface beds | m | 6 |  | 0
Extra over uPVC, soil and vent pipes for fittings
50mm BSP adaptor | No | 13 |  | 0
50mm Bend | No | 9 |  | 0
50mm Junction | No | 14 |  | 0
110mm Bend | No | 14 |  | 0
110mm Pan connector | No | 10 |  | 0
110mm Access bend | No | 9 |  | 0
Subtotal |  |  |  | 0
SECTION NO 4
BILL NO. 3
WATER SUPPLIES
WATER SUPPLIES TO FIRE APPLIANCES
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 289 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate and compacting to 93% Mod AASHTO density at -2% to 1% OMC | m2 | 289 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 578 |  | 0
Backfilling to trenches, holes, with materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density | m3 | 145 |  | 0
Backfilling to trenches, holes, with selected materials supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 58 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 87 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 145 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Class 12 black HDPE high density polyethylene pipes with and including "Plasson" compression fittings
22mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 49 |  | 0
50mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 54 |  | 0
32mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 76 |  | 0
100mm Pipes laid in trenches not exceeding 1m deep (trenches e/m) | m | 110 |  | 0
Extra over class 12 HDPE high density polyethylene pipes with and including "Plasson" compression fittings
22mm Fittings | No | 48 |  | 0
32mm Elbow | No | 15 |  | 0
50mm Bend | No | 6 |  | 0
32mm Tee | No | 5 |  | 0
32mm Junction | No | 5 |  | 0
100mm Junction | No | 6 |  | 0
32 x 22mm Reducing elbow | No | 5 |  | 0
32 x 22 x 32mm Reducing junction | No | 3 |  | 0
100mm Elbow | No | 7 |  | 0
100mm Tee | No | 3 |  | 0
100 x 32 x 100mm Junction | No | 8 |  | 0
100 x 50 x 100mm Reducing junction | No | 4 |  | 0
100 x 50mm Reducing elbow | No | 5 |  | 0
Class 0 copper pipes with capillary couplings
15mm Pipes | m | 42 |  | 0
22mm Pipes | m | 5 |  | 0
28mm Pipes | m | 4 |  | 0
Extra over class 0 copper pipes for capillary fittings
15mm Fittings | No | 76 |  | 0
22mm Fittings | No | 1 |  | 0
Galvanised steel pipes
25mm Pipes | m | 35 |  | 0
50mm Pipes | m | 29 |  | 0
Extra over galvanised steel pipes for steel fittings
25mm Fittings | No | 37 |  | 0
50mm Bend | No | 12 |  | 0
WASTE UNIONS ETC
Cobra Watertech
Cobra Watertech 32mm chrome plated Aqua basin click waste (Code: 302-32NOSLOT) with 62mm diameter flange and 80mm long shank. | No | 9 |  | 0
Cobra Ref. 316 sink waste with 70mm diameter flange, 45mm long shank, backnut, plug and chain | No | 5 |  | 0
TRAPS ETC
Marley
40mm Deep seal "P" or "S" trap | No | 5 |  | 0
Cobra Watertech
Cobra Watertech 40mm chrome plated bottle trap (Code: 360) with 75mm deep re-seal, adjustable telescopic pipe and 40mm outlet. | No | 13 |  | 0
Cobra Watertech 40mm rough brass shower P trap (Code: 373) with shallow seal and chrome plated grating. | No | 6 |  | 0
TAPS, VALVES, ETC
Cobra Watertech
Cobra Watertech 15mm MI x FI x 75mm long extension piece with sliding wall flange (Code: 059-15). | No | 10 |  | 0
Cobra Watertech 15mm compression type angle regulating valve with 10mm bendable copper outlet tube service connection (Code: 232/350). | No | 19 |  | 0
Cobra Watertech 15mm chrome Metering deck mounted pillar tap (Code: KM2-100), manufactured in accordance with SANS 1808-9, installed in accordance with the manufacturers recommendations• Metering pillar tap chrome • Includes self-closing non-hold open flow controller with flow cycle of 1-20 seconds ½" male inlet backnut washer and streamline outlet for flow aesthetics • Excellent water-saving product • SANS 1808-9. | No | 8 |  | 0
Cobra Watertech chrome plated Cobra shower arm (Code: 028) with 130mm throw. | No | 6 |  | 0
Cobra Watertech chrome plated Classic shower head (Code: 28274) with five spray patterns, ball-jointed connecter and Anti-lime nipples. | No | 6 |  | 0
Cobra Watertech 15mm chrome Noka undertile bath/shower diverter mixer (Code: NA-961), manufactured in accordance with SANS 1480, installed in accordance with the manufacturers recommendations• Single lever underwall diverter bath mixer chrome-plated • Includes sliding wall flange 2 × ½" female inlets and 1 × ½" female shower outlet • SANS 1480. | No | 6 |  | 0
Cobra Watertech exposed urinal chrome plated Junior Flushmaster flushvalve (code: FJ6.000) with non-hold open feature, wall flange and 20mm "Ball-o-Stop" control inlet. | No | 4 |  | 0
Cobra Watertech 15mm chrome plated pillar tap (Code: NM-502-21B) with blue indice and elbow action lever, manufactured in accordance with SANS 226:2009 Type 2 (BS 5412). | No | 1 |  | 0
Cobra Watertech chrome plated 15mm diameter outlet x 215mm long with 27mm offset offset urinal flush pipe (Code: FJT5-5). | No | 4 |  | 0
Cobra Watertech 15mm chrome Belina deck mounted sink mixer (Code: BE-970), manufactured in accordance with SANS 1480, installed in accordance with the manufacturers recommendations• Sink mixer with aerated swivel outlet and mounting kit chrome • Includes ½" female iron 400mm long flexible hoses • Features minimalistic styling • SANS 1480 DZR brass. | No | 5 |  | 0
FIRE APPLIANCES ETC
Chubb
4,5kg Dry chemical powder fire extinguisher, including standard hard wood backing plugged and backing finished with one coat dark stain and two coats clear suede polyurethane varnish | No | 6 |  | 0
Everyway hose reel complete with 30m plastic hose, chromium plated stopcock, shut-off nozzle and wall bracket | No | 3 |  | 0
Subtotal |  |  |  | 0
SECTION NO 4
BILL NO. 4
SOIL DRAINAGE
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 349 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 698 |  | 0
Backfilling to trenches, holes, with selected materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 244 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 105 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 105 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Prescribed density tests on filling
Modified AASHTO Density test | No | 10 |  | 0
SANITARY PLUMBING
uPVC Class 6 Underground drain pipes including couplings in running length, etc. (excavation, filling and cart away e/m)
110mm Pipes (No excavations) | m | 2 |  | 0
200mm Pipes (No excavations) | m | 2 |  | 0
110mm Pipes laid in and including trenches not exceeding 1m deep | m | 188 |  | 0
110mm Pipes laid in and including trenches exceeding 1m and not exceeding 2m deep | m | 111 |  | 0
200mm Pipes laid in and including trenches exceeding 1m not exceeding deep | m | 49 |  | 0
Extra over Class 6 uPVC pipes for fittings
110mm Bend | No | 22 |  | 0
110mm Junction | No | 24 |  | 0
110mm Gulley trap | No | 2 |  | 0
200 x 110mm Reducing bend | No | 16 |  | 0
200 x 110 x 200mm Reducing junction | No | 3 |  | 0
200mm Junction | No | 4 |  | 0
200mm Bend | No | 22 |  | 0
200 x 110mm Reducing bend | No | 2 |  | 0
200 x 200 x 200mm Junction | No | 6 |  | 0
uPVC gulleys
110mm Gulley not exceeding 750mm deep, incl of pre-cast concrete sorround, excavation etc. | No | 2 |  | 0
MANHOLES, ETC.
Money Provision:
Provide as sum of R30 000-00 (thirty thousand rand) for the provision of Manholes not clearly defined or detailed at the time of tender but intended for execution by the contractor and valued at rates herein before or omitted if not required. | Item | 1 |  | 0
SUNDRIES
Cutting into and join to existing manhole, including all excavations, backfilling, cart away and all necessary pipes and joints, etc. | No | 2 |  | 0
110mm "ABC" cleaning eye end of pipe | No | 2 |  | 0
200mm "ABC" cleaning eye end of pipe | No | 2 |  | 0
Subtotal |  |  |  | 0
SECTION NO. 4
BILL NO. 5
FLOOR DRAINS AND CHANNELS
THE FOLLOWING IN FLOOR CHANNELS
EXCAVATIONS
Excavation in earth not exceeding 2m deep
Trenches | m3 | 15 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 90% mod. AASHTO density | m2 | 25 |  | 0
Risk of collapse of excavations
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 24 |  | 0
Keeping excavations free of water
Keeping excavations free of water | Item | 1 |  | 0
FILLING ETC
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 93% Mod AASHTO density
Backfilling to trenches, holes, etc | m3 | 2 |  | 0
Extra over all excavations for carting away
Surplus material from excavations on site to a dumping site to be located by the contractor | m3 | 13 |  | 0
SOIL POISONING
Soil insecticide to be executed with SABS compliance by a firm of specialists under a 5 year guarantee
To bottoms and sides of trenches, etc. | m2 | 49 |  | 0
Weedkiller mixed in accordance to supplier's specifications
To bottoms and sides of trenches etc | m2 | 49 |  | 0
Prescribed density tests on filling
Mod. AASHTO Density test | No | 3 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm concrete
Surface blinding under footings and bases | m3 | 1 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Bottom slabs | m3 | 3 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 1 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a steel trowel
Surface beds, slabs, etc | m2 | 25 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 1,93 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (Ref 193), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 25 |  | 0
MASONRY
Brickwork of NFP bricks in class II mortar
One brick walls | m2 | 18 |  | 0
BRICKWORK SUNDRIES
Brickwork reinforcement
150mm Wide reinforcement built in horizontally | m | 212 |  | 0
PLASTERING
Cement plaster on brickwork
On walls | m2 | 18 |  | 0
METALWORK
The following in framed and welded framing and coverplates to ducts
100 x 65 x 8mm angle iron, fixed to wall with and including 200mm fixing lugs formed of 8mm round bars 200mm long, twice bent and filled welded to angle iron at 300mm centres and fixed to walls | m | 336 |  | 0
600mm Wide RS40 rectagrid (43kg/m2) laid in loose on steel framing (e/m) | m | 20 |  | 0
Sow comfort plastic flooring laid in strict accordance to the manufacturer's specifications (PC Amount R700/m2 Vat excl. supplied) | m2 | 119 |  | 0
TILING
300 x 600 x 11,5mm Porcelain tiles (PC R300-00/m2 VAT excl, supplied) fixed with approved adhesive to plastered wall with straight joints in both direction flush pointed with tinted jointing compound
On walls | m2 | 18 |  | 0
On floors and landings | m2 | 12 |  | 0
THE FOLLOWING IN FLOOR DRAINS AND PIPES
EARTHWORKS
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 45 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 150 |  | 0
Backfilling to trenches, holes, with selected materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 27 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 18 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 27 |  | 0
Weed-killing treatment of surface under paving etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 240 |  | 0
Soil poisoning under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 240 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Prescribed density tests on filling
Modified AASHTO Density test | No | 6 |  | 0
SANITARY PLUMBING
uPVC Class 6 Underground drain pipes including couplings in running length, etc. (excavation, filling and cart away e/m)
50mm Pipes laid in and including trenches not exceeding 1m deep | m | 25 |  | 0
110mm Pipes laid in and including trenches not exceeding 1m deep | m | 55 |  | 0
200mm Pipes laid in and including trenches exceeding 1m not exceeding deep | m | 70 |  | 0
Extra over Class 12 uPVC pipes for fittings | H4
50mm Bend | No | 3 |  | 0
50mm Junction | No | 2 |  | 0
110mm Bend | No | 15 |  | 0
110mm Junction | No | 6 |  | 0
110 x 50mm Reducing bend | No | 7 |  | 0
110 x 50 x 110mm Reducing junction | No | 8 |  | 0
100 x 50mm Access junction | No | 4 |  | 0
200mm Bend | No | 3 |  | 0
200 x 110mm Reducing bend | No | 5 |  | 0
200 x 200 x 200mm Junction | No | 4 |  | 0
200 x 200 x 200mm Side junction | No | 1 |  | 0
Floor drains, etc.
Rofo Engineering grade AISI 304 stainless steel RO 125 NW50 Funnel type floor drain with round top flange and round cover plate with slots (Code: RO125HNW50FUNNELRND- slots), suitable for tiled floor covering, overall size 150mm diameter x 195mm deep, with 50,8mm diameter horizontal waste outlet with mitred bend connected to waste pipe. | No | 4 |  | 0
Rofo Engineering grade AISI 304 stainless steel RO 200 NW 100 floor drain with round top flange and round cover plate with slots (Code: RO200HNW100RND - slots), suitable for tiled floor covering, overall size 240mm diameter x 270mm deep, with 110mm diameter horizontal waste outlet with mitred bend connected to waste pipe. | No | 3 |  | 0
Rofo Engineering grade AISI 304 stainless steel RO 200 NW 100 square floor drain with perforated circular grating pattern (Code: RO200HNW100Round), suitable for tiled floor covering, size 240 x 210mm deep 240 x 210mm deep, with 104mm diameter horizontal waste outlet with mitred bend connected to waste pipe. | No | 3 |  | 0
Rofo Engineering grade AISI 304 stainless steel RO 200 NW100 Heavy duty with grating floor drain with square top flange and square cover plate with circle aperture (Code: RO200HNW100with gratingSQ - circular), suitable for tiled floor covering, overall size 320mm x 310mm deep, and 110mm diameter horizontal with mitred bend waste outlet connected to waste pipe. | No | 6 |  | 0
Rofo Engineering grade AISI 304 stainless steel RO 280 NW 100 floor drain with round top flange and round cover plate with slots (Code: RO280HNW100 RND -slots), suitable for tiled floor covering, overall size 310mm diameter x 300mm deep, with 110mm diameter horizontal waste outlet with mitred bend connected to waste pipe. | No | 3 |  | 0
Subtotal |  |  |  | 0
SECTION NO 4
BILL NO 6
WORK IN CONNECTION WITH SECTION BILL 1 TO 5
TESTING
Provide all necessary water, etc., for and test the whole of the plumbing services, sanitary fittings, pumps, etc., and in stages as deemed necessary, including chlorination, complete to the satisfaction of the architect and the local authority, replace any defective work free of charge, including any necessary re-testing and leave in perfect condition upon completion | Item | 1 |  | 0
Allow for testing and commisioning the whole of the plumbing services, sanitary fittings, pumps, etc., including any necessary re-setting, etc., for optimal perfomance of the entire system to duration of the contract, maintenance and guarantee period | Item | 1 |  | 0
Subtotal |  |  |  | 0
SANITARY FITTINGS | Page | 99 |  | 0
SANITARY PLUMBING | Page | 100 |  | 0
WATER SUPPLIES | Page | 108 |  | 0
SOIL DRAINAGE | Page | 113 |  | 0
FLOOR DRAINS AND CHANNELS | Page | 121 |  | 0
WORK I.C.W BILLS 1 TO 5 | Page | 122 |  | 0
Subtotal |  |  |  | 0
SECTION NO 6
BILL NO 1
APRONS AROUND BUILDINGS
EARTHWORKS
Compaction of surfaces
Compaction of ground surface under aprons including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m2 | 753 |  | 0
Excavate in pickable earth to reduce ground level below surface beds and cart away excavated material to a dumping place to be found by the contractor (cut to spoil) | m3 | 169 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 93% mod. AASHTO density | m2 | 753 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
25 MPa/20 mm concrete
Aprons cast in panels to falls | m3 | 93 |  | 0
Stormwater channels cast in panels | m3 | 58 |  | 0
Finishing top surfaces of concrete smooth with a wood float
Aprons to falls | m2 | 466 |  | 0
Grooves, channels, mortices, sinkings, etc. in concrete
Segmental channel with radius 290mm and minimum depth of 100mm on top of concrete, incl. all excavations, cart away etc. | m | 576 |  | 0
Smooth formwork to sides
Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 964 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 2,45 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (code 245), complying with SANS 1024/2006 requirements cut 1000mm to match aprons | m | 388 |  | 0
Steeledale Mesh standard square fabric mesh, nominal mass 2,45 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (code 245), complying with SANS 1024/2006 requirements cut 500mm and curved to match channels | m | 188 |  | 0
MOVEMENT JOINTS ETC
Sondor
Sondor Performance Foams Jointex low density (33kg/m³), cross linked, closed cell, expanded polyethylene joint former, size 75 x 10mm thick with tear off strip fitted to concrete surface with adhesive as per adhesive manufacturer's recommendation. | m | 388 |  | 0
Sika Primer-3N one component epoxy polyurethane based primer for joint sealants (Sikaflex-PRO 2HP and Sikaflex 11FC), applied in accordance with the manufacturer's instructions.
10 x 10mm In expansion joints including raking out of expansion joint filler as necessary | m | 388 |  | 0
Subtotal |  |  |  | 0
SECTION NO. 6
BILL NO. 2
STORMWATER DRAINAGE
The following in trenches for pipes (pipes e/m)
Excavation not exceeding 2m deep | m3 | 100 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 90% mod. AASHTO density (minimum CBR 3) | m2 | 100 |  | 0
Risk of collapse to sides of trench and hole excavations not exceeding 1,5m deep | m2 | 200 |  | 0
Backfilling to trenches, holes, with selected materials obtained from excavations compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 50 |  | 0
Backfilling to trenches, holes, with selected materials supplied by the contractor compacted in 150mm layers to 90% Mod AASHTO density to form fill blanket | m3 | 20 |  | 0
Backfilling to trenches, holes, with selected granular supplied by the contractor materials compacted in 150mm layers to 90% Mod AASHTO density to form bedding cradle | m3 | 30 |  | 0
Extra over all excavations for carting away surplus material from excavations and/or stock piles on site to a dumping site n.e 1km from site | m3 | 50 |  | 0
Keeping excavations free of water | Item | 1 |  | 0
Class 100D concrete pipes
300mm pipes laid in and including trenches exceeding 1m and not exceeding 2m deep (trenches e/m) | m | 100 |  | 0
THE FOLLOWING IN CATCHPITS, JUNCTION BOXES AND INLET MANHOLES, ETC.
EXCAVATIONS
Excavation in earth not exceeding 2m deep
Excavation not exceeding 2m deep | m3 | 3 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate and compacting to 93% Mod AASHTO density at -2% to 1% OMC | m2 | 1 |  | 0
Extra over all excavations for carting away
Surplus material from excavations and/or stock piles on site to a dumping site to be located by the contractor | m3 | 3 |  | 0
Risk of collapse of excavations
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 4 |  | 0
Keeping excavations free of water
Keeping excavations free of water | Item | 1 |  | 0
FILLING ETC
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 93% Mod AASHTO density at -2% to 1% OMC
Backfilling to trenches, holes, etc | m3 | 2 |  | 0
Prescribed density tests on filling
Modified AASHTO Density test | No | 3 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm concrete
Surface blinding under footings and bases | m3 | 0.05 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Bottoms of catchpits, etc. | m3 | 0.16 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a wood float/steel trowel
Surface beds, slabs, etc | m2 | 1 |  | 0
TEST CUBES
Allow for preparing a set of three (3) concrete strength test cubes, each size 150 x 150 x 150mm, sending them to an approved Testing Laboratory for testing and paying all charges in connection therewith. | No | 3 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Smooth formwork to sides
Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 7 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 1,93 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (code 193), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 1 |  | 0
MASONRY
Brickwork of NFP bricks in class II mortar
One brick walls | m2 | 5 |  | 0
BRICKWORK SUNDRIES
Brickwork reinforcement
150mm Wide reinforcement built in horizontally | m | 85 |  | 0
Holes
Leave or form opening through one brickwall for pipe exceeding 200mm and n.e 300mm diameter | No | 6 |  | 0
INTERNAL PLASTER
Cement plaster on brickwork
On walls | m2 | 5 |  | 0
On narrow widths | m2 | 2 |  | 0
COVERS, ETC.
Gratings, covers, etc
520 x 790mm x 60,2kg Stormwater catchpit cover and frame complete | No | 3 |  | 0
Lifting key for manhole cover | No | 3 |  | 0
Subtotal |  |  |  | 0
SECTION NO 6
BILL NO 3
EXTERNAL FLUSH CHANNELS
FOUNDATIONS
EXCAVATIONS
Excavation in earth not exceeding 2m deep
Trenches | m3 | 18 |  | 0
Risk of collapse of excavations
Sides of trench and hole excavations not exceeding 1,5m deep | m2 | 17 |  | 0
Keeping excavations free of water
FILLING ETC
Earth filling obtained from the excavations and/or prescribed stock piles on site, compacted to 93% Mod AASHTO density
Backfilling to trenches, holes, etc | m3 | 3 |  | 0
Compaction of surfaces
Compaction of ground surface under floors etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 95% Mod AASHTO density | m2 | 29 |  | 0
Extra over all excavations for carting away
Surplus material from excavations on site to a dumping site to be located by the contractor | m3 | 15 |  | 0
SOIL POISONING
Soil insecticide to be executed with SABS compliance by a firm of specialists under a 5 year guarantee
Under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 4 |  | 0
To bottoms and sides of trenches, etc. | m2 | 17 |  | 0
Weedkiller mixed in accordance to supplier's specifications
Under floors etc including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 4 |  | 0
To bottoms and sides of trenches etc | m2 | 17 |  | 0
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm concrete
Surface blinding under footings and bases | m3 | 1 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm concrete
Bottoms of channels | m3 | 4 |  | 0
TEST CUBES
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a power float
Bottoms of channels,etc. | m2 | 29 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY I)
Boxing in smooth formwork to form
100 x 65mm Rebate in side along top edge | m | 32 |  | 0
REINFORCEMENT
Fabric reinforcement
Steeledale Mesh standard square fabric mesh, nominal mass 2,45 kg/m² with nominal 5,6mm thick wires and 200 x 200mm pitch (Ref 245), complying with SANS 1024/2006 requirements, in sheets 2,4 x 6m long. | m2 | 59 |  | 0
MASONRY
Brickwork of NFP bricks in class II mortar
One brick walls | m2 | 16 |  | 0
BRICKWORK SUNDRIES
Brickwork reinforcement
150mm Wide reinforcement built in horizontally | m | 192 |  | 0
METALWORK
The following in framed and welded framing and coverplates to ducts
100 x 65 x 8mm angle iron, fixed to wall with and including 200mm fixing lugs formed of 8mm round bars 200mm long, twice bent and filled welded to angle iron at 300mm centres and fixed to walls | m | 32 |  | 0
RS40 rectagrid (43kg/m2) laid in loose on steel framing (e/m) | m2 | 34 |  | 0
PLASTERING
Cement plaster on brickwork
On walls | m2 | 18 |  | 0
On narrow widths | m2 | 8 |  | 0
Subtotal |  |  |  | 0
SECTION NO 5
BILL NO. 4
PAVING AROUND SOCCER PITCH
EXCAVATION, FILLING, ETC
Open face excavation in earth over site
Stripping average 100mm thick layer of top soil and stockpiling on site not exceeding 1000m from excavations as directed the Project Manager | m2 | 340 |  | 0
Excavate in pickable earth to reduce ground level below paving and set aside for later use | m3 | 61 |  | 0
Excavate in pickable earth to reduce ground level below paving and but cart away excavated material to a dumping place to be found by the contractor (cut to spoil) | m3 | 41 |  | 0
Rip and scarify ground level to a depth of 150mm and consolidate to 93% mod. AASHTO density (minimum CBR 5) | m2 | 340 |  | 0
Walkway layers
The following to be natural selected gravel layers evenly spread and consolidated in layers and dimensions as specified and on the drawings. All thicknesses to be consolidated thicknesses. Where described as "imported" the gravel to be supplied and carted on by the contractor from an approved borrow pit
Selected filling previously set aside laid in 150mm thick layers to 96% mod. AASHTO density, PI </= 6, Grading Modules = 2,6 >/= GM >/= 1,2 | m3 | 61 |  | 0
150mm Thick imported G6 material laid in 150mm thick layers and compacted to 96% mod. AASHTO density, PI </= 6, Grading Modules = 2,6 >/= GM >/= 1,2 (Layer 1) | m2 | 340 |  | 0
150mm Thick imported G6 material laid in 150mm thick layers and compacted to 96% mod. AASHTO density, PI </= 6, Grading Modules = 2,6 >/= GM >/= 1,2 (Layer 2) | m2 | 340 |  | 0
Mod. AASHTO Density test | No | 10 |  | 0
WALKWAYS
Interlocking paving
60mm Thick double interlocking (DZZ) precast grey coloured concrete paving blocks laid in a herringbone pattern on and including 25mm thick washed river sand founding layer and covered with plaster sandlayer vibrated into joints with a plate vibrator all laid on subgrade conforming to SANS 1200 D Degree Of Accuracy I. Paving to be inspected and re-sanded after three months. | m2 | 340 |  | 0
Weed-killing treatment of surface under paving etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 340 |  | 0
Soil poisoning under floors etc, including forming and poisoning shallow furrows against foundation walls etc, filling in furrows and ramming | m2 | 340 |  | 0
Kerbs, etc
Precast concrete figure 8B kerb (SABS 927), levelled and jointed in 1:5 cement mortar complete with 15Mpa/19mm in situ concrete support blocks size 225 x 150 x 225mm high, at joints at 1,0m centres, including leaving 6mm expansion joints at 10m intervals between kerbs | m | 115 |  | 0
Precast concrete figure 8B kerb (SABS 927), circular on plan levelled and jointed in 1:5 cement mortar complete with 15Mpa/19mm in situ concrete support blocks size 225 x 150 x 225mm high, at joints at 1,0m centres, including leaving 6mm expansion joints at 10m intervals between kerbs | m | 43 |  | 0
Extra over cutting paving blocks to fit edge | m | 115 |  | 0
Extra over circular cutting paving blocks to fit edge | m | 43 |  | 0
Sundries
Mass concrete (25MPa) in 60 x 60mm edge filler strip finished smooth on top with a wood float, including all excavation, formwork, etc | m | 158 |  | 0
Sub-Total |  |  |  | 0
APRONS, AND STORMWATER CHANNELS | Page | 127 | 0 | 0
STORMWATER DRAINAGE | Page | 133 | 0 | 0
EXTERNAL FLUSH CHANNELS | Page | 139 | 0 | 0
PAVING, ETC. | Page | 143 | 0 | 0
Subtotal |  |  |  | 0
SECTION NO 7
BILL NO 1
PROVISIONAL AMOUNTS ETC
PROVISIONAL SUMS FOR SELECTED SUB-CONTRACT WORKS
Electrical Installation
Provide the sum of R1 500 000,00 (one million five hundred thousand rand) for Electrical Installation by Specialists | Item | 1 | 1500000 | 1500000
Allow for profit on above if required (Excluded from CPAP) | Item | 1 |  | 0
Allow for giving every facility to Specialist as described | Item | 1 |  | 0
Piggery house curtains
Provide the sum of R300 000,00 (three hundred thousand rand) for the supply and installation of Piggery House Curtains by Specialists | Item | 1 | 300000 | 300000
Allow for profit on above if required (Excluded from CPAP) | Item | 1 |  | 0
Allow for giving every facility to Specialist as described | Item | 1 |  | 0
Mechanical Installation
Provide the sum of R1 500 000-00 (one million five hundred thousand rand) for Mechanical Installation by Specialists | Item | 1 | 1500000 | 1500000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Piggery and Milking Parlour Ventilation
Provide the sum of R1 500 000,00 (one million five hundred thousand rand) for the supply and installation of Piggery and Milking Parlour Ventilation by Specialists | Item | 1 | 1500000 | 1500000
Allow for profit on above if required (Excluded from CPAP) | Item | 1 |  | 0
Allow for giving every facility to Specialist as described | Item | 1 |  | 0
Signage
Provide the sum of R50 000,00 (fifty thousand rand) for Signage Installation by Specialists | Item | 1 | 50000 | 50000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Joinery Fittings Installation
Provide the sum of R200 000,00 (two hundred thousand rand) for the supply and installation of joinery fittings by Specialists | Item | 1 | 200000 | 200000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Handrails Installations
Provide the sum of R200 000-00 (two hundred thousand rand) for supply and installation of handrails by Specialists | Item | 1 | 200000 | 200000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Partitions
Provide the sum of R60 000,00 (fifty thousand rand) for landscaping by Specialists | Item | 1 | 60000 | 60000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Galvanised Steel Partitions, etc.
Provide the sum of R250 000,00 (two hundred and fifty thousand rand) for the supply and installation of Galvanised steel partitions by Specialists | Item | 1 | 250000 | 250000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Epoxy floor finishes, etc.
Provide the sum of R110 000,00 (one hundred and ten thousand rand) for the supply and application of epoxy floor finishes by an approved Specialists | Item | 1 | 110000 | 110000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Milking Parlour Equipments
Provide the sum of R2 500 000-00 (two million five hundred thousand rand) for the supply and installation of Milking Parlour Equipments by Specialists | Item | 1 | 2500000 | 2500000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Waste water package plant, etc
Provide the sum of R1 500 000-00 (one million five hundred thousand rand) for the supply and installation of Package Plant by Specialists | Item | 1 | 1500000 | 1500000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Farrowing floor Systems, etc
Provide the sum of R500 000-00 (five hundred thousand rand) for the supply and installation of Farrowing Floor System Equipments by Specialists | Item | 1 | 500000 | 500000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Freezers and Chillers, etc.
Provide the sum of R1 000 000-00 (one million rand) for the supply and installation of Freezer and Chillers by Specialists | Item | 1 | 1000000 | 1000000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Incinerators, etc.
Provide the sum of R200 000-00 (Two hundred thousand rand) for the supply and installation of Incinerators by Specialists | Item | 1 | 200000 | 200000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Grease Traps, etc.
Provide the sum of R75 000-00 (seventy five thousand rand) for the supply and installation of grease traps by Specialists | Item | 1 | 75000 | 75000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Timber Roof Construction
Provide the sum of R100 000,00 (one hundred thousand rand) for the supply and installation of Timber Roof Construction by Specialists | Item | 1 | 100000 | 100000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Joinery Installation
Provide sum of R200 000-00 (two hundred thousand rand) for the supply and installation of Joinery Installation by Specialists | Item | 1 | 200000 | 200000
Allow for profit on above if required (Excluded from CPAP) | Item | 1 |  | 0
Allow for giving every facility to specialist as described | Item | 1 |  | 0
Furniture, etc.
Provide the sum of R200 000-00 (two hundred thousand rand) for the supply and installation of Furniture by Specialists | Item | 1 | 200000 | 200000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Abattoir Special Floor Finishes
Provide the sum of R200 000-00 (two hundred thousand rand) for the supply and installation of Abattoir Floor Finishes by Specialists | Item | 1 | 200000 | 200000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Abattoir Equipments
Provide the sum of R3 000 000-00 (three million rand) for the supply and installation of Abattoir Equipments by Specialists | Item | 1 | 3000000 | 3000000
Allow for giving every facility to Specialists as described | Item | 1 |  | 0
Allow for profit on above if required | Item | 1 |  | 0
Fire Protection
Provide the sum of R1 500 000,00 (one million five hundred thousand rand) for Fire Protection by Specialists | Item | 1 | 1500000 | 1500000
Allow for profit on above if required (Excluded from CPAP) | Item | 1 |  | 0
Allow for giving every facility to Specialist as described | Item | 1 |  | 0
16645000
SECTION NO 7
BILL NO 2
PROVISIONAL AMOUNTS ETC
PROVISIONAL SUMS FOR SELECTED SUB-CONTRACT WORKS
HOLES THROUGH WALLS
Holes
Leave or form opening through one brickwall for pipe n.e 100mm diameter | No | 3 |  | 0
Leave or form opening through one brickwall for pipe exceeding 100mm and n.e 200mm diameter | No | 4 |  | 0
SLEEVES
Plastic sleeves for pipes not exceeding 100mm diameter
Sleeve not exceeding 250mm long | No | 2 |  | 0
Sleeve exceeding 250mm and not exceeding 500mm long | No | 4 |  | 0
Plastic sleeves for pipes exceeding 100mm and not exceeding 200mm diameter
Sleeve not exceeding 250mm long | No | 4 |  | 0
Sleeve exceeding 250mm and not exceeding 500mm long | No | 4 |  | 0
HOLES ETC
Core drilling of hole for pipe not exceeding 50mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 2 |  | 0
Core drilling of hole for pipe exceeding 50mm and not exceeding 100mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 4 |  | 0
Core drilling of hole for pipe exceeding 100mm and not exceeding 200mm diameter
300mm Reinforced concrete slab, beam, wall, etc | No | 2 |  | 0
0
PROVISIONAL SUMS | Page | 153 | 0 | 16645000
BUILDER'S WORK | Page | 156 | 0 | 0
PRELIMINARIES | Page | 30 | 0 | 0
ALTERATIONS | Page | 35 | 0 | 0
BUILDINGS | Page | 96 | 0 | 0
PLUMBING & DRAINAGE | Page | 123 | 0 | 0
EXTERNAL WORKS | Page | 144 | 0 | 0
Sub-total |  |  |  | 16645000
CREDIT FOR ALL REUSABLE MATERIALS REMOVED FROM DEMOLITION WORKS | Item | 1 |  | 0
Sub-total 2 | ST |  |  | 16645000
CONTINGENCY SUM
Allow the amount of R1 200 000-00 (one million two hundred thousand rand) for Contingencies for building work, to be used as directed by the Project Manager and deducted in whole or in part if not required | Item | 1 | 1200000 | 1200000
SPECIAL CONDITIONS
Provide the sum of R750 000,00 (seven hundred and fifty thousand rand) for fluctuations in cost | Item | 1 | 750000 | 750000
Sub total BUILDINGS (VAT excl.) | ST |  |  | 18595000
Value Added Tax @ 15% | TAX | 15% |  | 2789250
VALUE ADDED TAX:
Sub Total (VAT INCL.) CARRIED TO TENDER FORM |  |  |  | 21384250